## Directions
Site Sustainability Compliance Documentation – Directions
Compliance Forms
Compliance forms are provided to assist in understanding and documenting compliance with each section's requirements.
To demonstrate compliance with the Standard’s requirements for this section, projects must demonstrate compliance with the mandatory measures. (Section 5 does not include Prescriptive or Performance Provisions)
The Mandatory Provisions form must be completed with ALL methods of compliance.
Header Information
Project Name: Enter the name of the project. This should agree with the name that is used on the plans and specifications or the common name used to refer to the project.
Project Address: Enter the street address of the project, for instance “949 Main Street, Irvine, CA 92618.”
Date: Enter the date when the compliance documentation was completed.
Designer of Record/Telephone: Enter the name and the telephone number of the designer of record.
Contact Person/Telephone: Enter the name and telephone number of the person who should be contacted if there are questions about the compliance documentation.
City: The city where the project is located.
Instructions
For each item in the compliance forms, there is the option to indicate that 1) the project complies with the requirement or 2) the requirement is not applicable to the project. Select the appropriate check box.
If a requirement's exception(s) apply to the project, check the appropriate box.
For every item checked "complies," the documentation author should fill in the Document Reference field by citing the plans (drawing number), specifications (specifications section number), or attached calculations that document the requirement.
The documentation author should fill in the Calculated Performance Metric field on the Performance Option form with the results of applicable performance metric calculations.

## Mandatory
Site Sustainability Compliance Documentation – Mandatory
Project Name
Project Address: |  |  | Date:
Designer of Record: |  |  | Telephone:
Contact Person: |  |  | Telephone:
City:
Mandatory Provisions
Complies | Not applicable | Requirement | Document Reference
§5.3.1: Site Selection
q | q | §5.3.1.1: The building project site takes place on one of the following: q a. in an existing building envelope. q b. on a brownfield site. q c. on a greyfield site. q d. on a greenfield site that is within 1/2 mi (800 m) of residential land that is developed, or is under construction, at an average density of 10 units per acre (4 units per ha) net, unless that site is agricultural land or forest land. q e. on a greenfield site that is within 1/2 mi (800 m) of a minimum of ten basic services and that offers pedestrian access from the building to those services, unless that site is agricultural land or forest land. q f. on a greenfield site that is either within 1/2 mi (800 m) of an existing, or planned and funded, commuter rail, light rail, or subway station, or within 1/4 mi (400 m) of adequate transit service usable by building occupants, unless that site is agricultural land or forest land. q g. on a greenfield site that is agricultural land and the building’s purpose is related to the agricultural use of the land. q h. on a greenfield site that is forest land and the building’s purpose is related to the forestry use of the land. q i. on a greenfield site that is designated park land and the building’s purpose is related to the use of the land as a park.
q | q | §5.3.1.2a: There is no site disturbance or development of previously undeveloped land having an elevation lower than 5 ft (1.5 m) above the elevation of the 100 year flood as defined by FEMA.
q Exception: Development of a low-impact trail is allowed within the flood zone.
q Exception: In alluvial “AO” designated flood zones, development is allowed when provided with engineered floodproofing for building structures up to an elevation that is at least as high as the minimum lowest floor elevation determined by the AHJ. Drainage paths shall be constructed to guide floodwaters around and away from the structures.
q | q | §5.3.1.2b: There is no site disturbance or development within 150 ft (50 m) of any fish and wildlife habitat conservation area unless the site disturbance or development involves plantings or habitat enhancement of the functions and values of the area.
q Exception: Development of a low-impact trail is allowed within 15 ft (4.5 m) of a fish and wildlife habitat conservation area.
q Exception: plantings or habitat enhancement of the functions and values of the area have been added in response to site development and disturbance.
q | q | §5.3.1.2c: There is no site disturbance or development within 100 ft (35 m) of any wetland unless the site disturbance or development involves plantings or habitat enhancement of the functions and values of the wetland.
q Exception: Development of a low-impact trail is allowed within 15 ft (4.5 m) of a wetland.
q Exception: plantings or habitat enhancement of the functions and values of the wetland have been added in response to site development and disturbance.
§5.3.2: Predesign Site Inventory and Assesment
q | q | §5.3.2: The following items have been identified after the site has been selected but before the design has begun: q a. location of prohibited development area such as flood zones, fish and wildlife habitat conservation areas and wetlands as prescribed in Section 5.3.1.2. q b. species of all invasive plants found on the building site. q c. species of all native plants found on the building site. q d. site features that are to be preserved. This includes any vegetation, topography, geology, etc.
§5.3.3: Plants
q | q | §5.3.3.2: For greenfield sites, the following requirements have been met to ensure that sites maintain existing/added native and adaptive plants to the site landscape while restricting the use of turfgrass: q a. More than 20% of the total predevelopment site has native or adaptive plants with a total area greater. A minimum of 20% of the area of native or adapted plants has been retainined. q b. 20% or less of the total predevelopment site area has native plants or adapted plants. A minimum of 20% of the site area has been developed or retained as vegetated area. q Not less than 60% of the vegetated area consists of bio-diverse planting of native plants or adapted plants other than turfgrass.
§5.3.4: Stormwater Management
q | q | §5.3.4 At least one or more of the following stormwater management strategies has been implemented: q a. infiltration - allowing precipitation to saturate the ground of the site, contributing to aquifers below. q b. evapotranspiration - a combination of evaporation of water from the ground and transpiration of water from vegetation. q c. rainwater harvesting – collection and storage of precipitation that has fallen on a building for the purpose of reuse. q d. stormwater collection – collection and storage of precipitation that has fallen on dirt or paved surfaces.
q Exception: Local regulation prohibits all of the above stormwater management strategies.
q | q | §5.3.4.1 The buildilng project is on a greenfield site and complies with either requirement a. or b.: q a) project is able to retain no less than the volume of water that would fall in a 24hr period during a 95th percentile precipitation event. q b) it has been demonstrated that the post-construction runoff is not greater than the pre-development runoff based on a hydrologic analysis of the site.
q | q | §5.3.4.2 The building project is on a greyfield site and complies with either requirement a. or b.: q a) project site is able to retain no less than the volume of water that would fall in a 24hr period during a 60th percentile precipitation event. q b) the project site is incapable of retaining the required volume of water, and the remainder has been treated to reduce the total suspended solids to no more than 11 grains/ ft3 (25mg/L) .
q | q | §5.3.4.3 Stormwater discharge rate satisfies the requirements of either requirement a. or b.: q a) the design storm is discharged over at least a 48 hr period (design storm for greenfield sites is the 95th percentile precipitation event and 60th percentile precipitation event for greyfield sites). q b) the discharge rate from the site is controlled to within ±10% of the flow duration curve for channel-forming discharge of the pre-development site.
q | q | §5.3.4.4 Discharge from a stormwater management system is directed or concentrated to a dedicated path such as a drainage ditch, culvert or drainage, may be a native creek or stream previously utilized by the site runoff.
q | q | §5.3.4.5 Stormwater management system does not compromise the sequestration system on a brownfield site where contaminated soil has been sequestered.
q | q | §5.3.4.6 There is no use of coal tar sealants on surfaces that will be exposed to stormwater or any other water sources that will run off the site or permeate the ground.
§5.3.5: Mitigation of Heat Island Effect
q | q | §5.3.5.1: At least 50% of the site hardscape consists of one or any combination of the following: q a. existing trees and vegetation or new bio-diverse plantings of native plants and adapted plants located so as to provide shade within ten years of issuance of the final certificate of occupancy. The effective shade coverage on the hardscape is the arithmetic mean of the shade coverage calculated at 10 a.m., noon, and 3 p.m. on the summer solstice. q b. paving materials with a minimum initial SRI of 29. This also applies to porous pavers (open-grid pavers) and open-graded (uniform-sized) aggregate materials. A default SRI value of 35 for new concrete without added color pigment may be used instead of measurements. q c. permeable surfaces with a percolation rate of not less than 2 gal/min-ft2 (100 L/min-m2): open-graded aggregate, permeable pavement, permeable pavers, or pourous pavers. q d. shading through the use of structures, provided that the top surface of the shading structure complies with the provisions of Section 5.3.5.3. q e. parking under a building, provided that the roof of the building complies with the provisions of Section 5.3.5.3. q f. buildings or structures that provide shade to the site hardscape. The effective shade coverage on the hardscape shall be the arithmetic mean of the shade coverage calculated at 10 a.m., noon, and 3 p.m. on the summer solstice.
q Exception: The building project is in climate zones 6, 7, or 8.
q | q | §5.3.5.2: Shade has been provided through the use of shade-providing plants, man-made structures, existing buildings, hillsides, permanent building projections, on-site renewable energy systems, or a combination of these, on at least 30% of the east and west above-grade walls and retaining walls from grade level to a height of 20 ft (6 m) above grade or the top of the exterior wall, whichever is less, within ten years of issuance of the final certificate of occupancy. Shade coverage was calculated at 10 a.m. for the east walls and 3 p.m. for the west walls on the summer solstice.
q | q | §5.3.5.2: Where shading of above-grade building walls and retaining walls is provided by vegetation, such vegetation (including trees) consists of existing trees and vegetation or new bio-diverse plantings of native plants and adapted plants and has been appropriately sized, selected, planted, and maintained so that it does not interfere with overhead or underground utilities. Trees have been placed a minimum of 5 ft (1.5 m) from and within 50 ft (15 m) of the building or retaining wall.
Exceptions: q 1) The requirements of this section are satisfied if 75% or more of the opaque wall surfaces on the east and west have a minimum SRI of 29. Each wall may be considered separately for this exception. q 2) East wall shading is not required for buildings located in climate zones 5, 6, 7, and 8. West wall shading is not required for buildings located in climate zones 7 and 8.
q | q | §5.3.5.3: A minimum of 75% of the entire roof surface is covered with products that comply with one or more of the following (not including roof surface space used for roof penetrations and associated equipment; onsite renewable energy systems such as photovoltaics or solar thermal energy collectors, including necessary space between rows of panels or collectors; portions of the roof used to capture heat for building energy technologies; rooftop decks or walkways; or vegetated [green] roofing systems): q a. have a minimum three-year-aged SRI of 64 for a low-sloped roof (a slope less than or equal to 2:12) q b. have a minimum three-year-aged SRI of 15 for a steep-sloped roof (a slope of more than 2:12).
q Exceptions: q 1) Building projects where an annual energy analysis simulation demonstrates that the total annual building energy cost and total annual CO2e, as calculated in accordance with Sections 7.5.2 and 7.5.3, are both a minimum of 2% less for the proposed roof than for a roof material complying with the requirements of Section 5.3.2.3(a). q 2) Roofs used to shade or cover parking and roofs over semiheated spaces, provided that they have a minimum initial SRI of 29. A default SRI value of 35 for new concrete without added color pigment may be used instead of measurements.
q | q | §5.3.5.4: The SRI has been calculated in accordance with ASTM E1980 for medium-speed wind conditions.
q | q | §5.3.5.4: The SRI has been based upon solar reflectance as measured in accordance with ASTM E1918 or ASTM C1549, and the thermal emittance as measured in accordance with ASTM E408 or ASTM C1371.
q | q | §5.3.5.4: For roofing products, the SRI value has been established using the three-year-aged solar reflectance and thermal emittance as measured in accordance with the CRRC-1 standard and has been certified by the manufacturer.
§5.3.6: Reduction of Light Pollution
q | q | §5.3.6.1: Exterior lighting systems comply with Section 9 of ANSI/ASHRAE/IESNA Standard 90.1
q | q | §5.3.6.2a: All building-mounted luminaires located less than two mounting heights from any property line meet the maximum allowable Glare Ratings in Table 5.3.6.2A.
q | q | §5.3.6.2b: All other luminaires meet the maximum allowable Backlight and Glare Ratings in Table 5.3.6.2B.
q | q | §5.3.6.3: All exterior lighting meets one of the following Uplight requirements: q a. Exterior luminaries shall meet the maximum allowable Uplight Ratings of Table 5.3.6.2B or q b. Exterior lighting shall meet the Uplight requirements of Table 5.3.6.3.
Exceptions: q 1) Lighting in lighting zones 3 and 4, solely for uplighting structures, building facades, or landscaping. q 2) Lighting in lighting zones 1 and 2, solely for uplighting structures, building facades, or landscaping, provided that the applicable lighting power densities do not exceed 50% of the lighting power allowances in ANSI/ASHRAE/IES Standard 90.1 Table 9.4.2-2.
§5.3.7 Mitigation of Transportation Impacts
q | q | §5.3.7.1 Pedestrian Transit Connectivity - each primary building entrance provides a pedestrian walkway that leads to either a public way or transit. Where walkways cross parking lots, the walkway is clearly delineated.
q | q | §5.3.7.2 The following requirements for site bicycle parking have been met: q a. the building has bicycle parking spaces for no less than 5% of the occupant load. Buildings that include residential dwelling units have 0.5 spaces per bedroom but not less than 2 spaces total. The total number of spaces provided is at least the sum of the spaces required for each space type. q b. building has no less than two bicycle parking spaces located within 50 ft (15.2 m) of and visible from the building entrance the spaces serve (this has been satisfied for all building entrances). q The spaces are not less than 18 in wide by 72 in deep (460 mm x 1,829 mm). q The parking spaces provide a secure rack for locking bikes q The parking area complies with safety and construction requirements from Section 5.3.7.2.5
Exceptions: q authority having jurisdiction approves the number of bicycle parking spaces be reduced for buildings where a transportation plan has been prepared by a design professional that provides significant opportunity for occupants to use public transportation or walk.
q | q | §5.3.7.3 One of the following site vehicle provisions has been satisfied: q a. no less than 5% of the parking spaces provided on a project site have been designated for vehicles meeting the SmartWay certification criteria. Spaces for these vehicles are preferred parking and are the spaces closest to the building entrance, after the parking spaces designated for individuals with disabilities. language of signs indentifying the preferred parking spaces is clear and concise and has been approved by the authority having jurisdiction. q b. no less than two public plug-in electric vehicle charging stations (EVSE) are located within 1/4 mile (400 m) of the project site. If existing charging stations do not exist within specified distance, charging stations will be provided as part of the building project.
The proposed and baseline buildings comply with the mandatory requirements of ANSI/ASHRAE/USGBC/IES Standard 189.1-2014. Individual certifying authenticity of the data provided in this analysis:
Signature: Date:
Printed Name: License/Registration #:
Company Name: