## Directions
Impact on Atmosphere, Materials, and Resources Compliance Documentation – Directions
Compliance Forms
Compliance forms are provided in the User’s Manual to assist in understanding and documenting compliance with each section's requirements.
To demonstrate compliance with the Standard’s requirements for this section, projects must demonstrate compliance with the mandatory measures, as well as either the prescriptive or performance paths.
The Mandatory Provisions form must be completed with ALL methods of compliance.
The Prescriptive Option form should be used only if the prescriptive path is chosen.
The Performance Option form should be used only if the performance path is chosen.
Header Information
Project Name: Enter the name of the project. This should agree with the name that is used on the plans and specifications or the common name used to refer to the project.
Project Address: Enter the street address of the project, for instance “949 Main Street, Irvine, CA 92618.”
Date: Enter the date when the compliance documentation was completed.
Designer of Record/Telephone: Enter the name and the telephone number of the designer of record.
Contact Person/Telephone: Enter the name and telephone number of the person who should be contacted if there are questions about the compliance documentation.
City: The city where the project is located.
Instructions
For each item in the compliance forms, there is the option to indicate that 1) the project complies with the requirement or 2) the requirement is not applicable to the project. Select the appropriate check box.
If a requirement's exception(s) apply to the project, check the appropriate box.
For every item checked "complies," the documentation author should fill in the Document Reference field by citing the plans (drawing number), specifications (specifications section number), or attached calculations that document the requirement.
The documentation author should fill in the Calculated Performance Metric field on the Performance Option form with the results of applicable performance metric calculations.

## Mandatory
Impact on Atmosphere, Materials, and Resources Compliance Documentation – Mandatory
Project Name
Project Address: |  |  | Date:
Designer of Record: |  |  | Telephone:
Contact Person: |  |  | Telephone:
City:
Mandatory Provisions
Complies | Not applicable | Requirement | Document Reference
§9.3.1: Construction and Demolition Waste Management
q | q | §9.3.1.1: A minimum of 50% of nonhazardous construction and demolition waste material generated prior to the issuance of the final certificate of occupancy has been diverted from disposal in landfills and incinerators by reuse, recycling, repurposing, and/or compositing. Diversion efforts were tracked throughout the construction process.
q | q | §9.3.1.2: For new building projects or new portions of buildings, the total amount of construction waste generated prior to the issuance of the final certificate of occupancy on the project did not exceed 20 lbs. per squre feet (100 kg per m2) of new building floor area and the amount of waste was tracked throughout the construction process.
q | q | §9.3.1.3: Prior to the issuance of a demolition or building permit, a preconstruction waste management plan was submitted to the owner and AHJ that complies with the steps in Section 9.3.1.3.
§9.3.2: Extracting, Harvesting, and/or Manufacturing
q | q | §9.3.2: Materials have been harvested and/or extracted, and products and/or assemblies were manufactured, according to the laws and regulations of the country of origin.
q | q | §9.3.2: Wood products in the project, other than recovered or reused wood, do not contain wood from endangered wood species unless the trade of such wood conforms with the requirements of the Convention on International Trade in Endangered Species of Wild Fauna and Flora (CITES).
§9.3.3: Refrigerants [Reserved]
§9.3.4: Storage and Collection of Recyclables and Discarded Goods
q | q | §9.3.4.1: There is an area that serves the entire building and is dedicated to the collection and storage of non-hazardous materials for recycling, including paper, corrugated cardboard, glass, plastics, and metals.
q | q | §9.3.4.2: For building projects with residential spaces, there is an area that serves the entire building and is designed for the collection and storage of discarded but clean items in good condition. Charitable organizations or others that will arrange for periodic pickups have been identified and posted.
q | q | §9.3.4.3: An area has been provided that serves the entire building, is designed for the collection and storage of fluorescent and HID lamps and ballasts, and facilitates proper disposal and/or recycling according to jurisdictional hazardous waste requirements.
q | q | §9.3.4.4: Separate containers/areas that serve the entire building are provided and are designed for the collection and storage of electronics, alkaline batteries, and rechargeable batteries and facilitate disposal or recycling according to jurisdictional requirements.
q | q | §9.3.4.5: Electric lamps used in the building project do not contain mercury in an amount exceeding, per lamp, the maximum mercury content levels of Table 9.3.5.
Exceptions to §9.3.4.5: q 1. Eight-foot models of straight fluorescent T8 lamps. q 2. High-output and very-high-output, straight fluorescent lamps greater than 1.25 in. (32 mm) in diameter. q 3. Mogul bi-pin-based lamps. q 4. Preheat straight fluorescent lamps of any size. q 5. U-bend and circline fluorescent lamps. q 6. HID lamps. q 7. Induction lamps. q 8. Special-purpose lamps: appliance, black light, germicidal, bug, colored, plant, straight fluorescent reflector, reprographic, shatter resistant, cold temperature, and three-way lamps.
The proposed and baseline buildings comply with the mandatory requirements of ANSI/ASHRAE/USGBC/IES Standard 189.1-2014. Individual certifying authenticity of the data provided in this analysis:
Signature: Date:
Printed Name: License/Registration #:
Company Name:

## Prescriptive
Impact on Atmosphere, Materials, and Resources Compliance Documentation – Prescriptive
Project Name
Project Address: |  |  | Date:
Designer of Record: |  |  | Telephone:
Contact Person: |  |  | Telephone:
City:
Prescriptive Option
Complies | Not applicable | Requirement | Document Reference
§9.4.1: Reduced Impact Materials
q | q | §9.4.1: The building project complies with two of the following: q Section 9.4.1.1 q Section 9.4.1.2 q Section 9.4.1.3 q Section 9.4.1.4
q | q | §9.4.1.1: The sum of recycled content and salvaged material content constitutes a minimum of 10%, based on cost, of the total materials in the building project. The recycled content of a material is the postconsumer recycled content plus one half of the preconsumer recycled content, determied by weight (mass) and the salvaged material content is determined based on the actual cost of the salvages material or the cost of a comparable alternative component material.
q | q | §9.4.1.2: A minimum of 15% of building materials or products used, based on cost, have been regionally extracted/harvested/recovered or manufactured within a radius of 500 mi (800 km) of the project site. q Exception: For building materials or products shipped in part by rail or water, the total distance to the project has been determined by weighted average whereby that portion of the distance shipped by rail or water has been multiplied by 0.25 and added to that portion not shipped by rail or water, provided that the total does not exceed 500 mi (800 km).
q | q | §9.4.1.3: A minimum of 5% of building materials used, based on cost, are biobased products. q §9.4.1.3.1: Wood building components including, but not limited to, structural framing, sheathing, flooring, sub-flooring, wood window sash and frames, doors, and architectural millwork used to comply with this requirement do contain not less than 60% certified wood content tracked through a chain of custody process either by physical separation or percentage-based approaches, or wood that qualifies as a salvaged material.
q | q | §9.4.1.4: A minimum of ten different products installed in the building project at the time of issuance of certificate of occupancy complies with one of the follwing subsections: q §9.4.1.4.1: A Type 3 industry-wide environmental product declaration (EPD) shall be submitted for each product. q §9.4.1.4.2: A product-specific Type 3 EPD shall be submitted for each product. q §9.4.1.4.3: A material specific assessment has been submitted for each product in accordance with one of the standards listed in Section 9.4.1.4.2. q §9.4.1.4.4: A report by a third-party that has critically reviewed the life-cycle assessment (LCA) of a product based on ISO Standard 14040 and 14044 that demonstrated compliance with the goal and scope fot he cradle-to-gate requirements.
The proposed and baseline buildings comply with the mandatory requirements of ANSI/ASHRAE/USGBC/IES Standard 189.1-2014 and meet the Prescriptive Option requirements. Individual certifying authenticity of the data provided in this analysis:
Signature: Date:
Printed Name: License/Registration #:
Company Name:

## Performance
Impact on Atmosphere, Materials, and Resources Compliance Documentation – Performance
Project Name
Project Address: |  |  |  | Date:
Designer of Record: |  |  |  | Telephone:
Contact Person: |  |  |  | Telephone:
City:
Performance Option
Complies | Not applicable | Requirement |  | Document Reference
§9.5.1: Life-Cycle Assessment
q | q | §9.5.1: A LCA has been performed in accordance with ISO Standard 14044 for a minimum of two building alternatives, both of which conform to the OPR, considering at least those material components included in Section 9.4.1.
q | q | §9.5.1: Each building alternative in the LCA consists of a common design, construction, and materials for the locale, including building size and use, as commonly approved by the AHJ and each building alternative complies with Sections 6, 7, and 8.
q | q | §9.5.1.1: The building alternative chosen for the project has at least a 5% improvement over the other building alternative assessed in the LCA in the following impact categories (a minimum of 2): q Land use (or habitat alteration) q Resource use q Climate change GWP (required) Note: any values for global warming potential relative to CO2 shall be based on a 100 year time horizon. q Ozone layer depletion q Human health effects q Ecotoxicity q Smog q Acidification q Eutrophication
q | q | §9.5.1.2. Step 1: A life-cycle inventory (LCI) accounting for the materials and energy consumed and emissions to air, land, and water has been performed for each of the following stages: q Extracting and harvesting materials and fuel sources from nature. q Processing building materials and manufacturing building components. q Transporting materials and components. q Assembly and construction. q Maintenance, repair, and replacement during the design life with or without operational energy consumption. q Demolition, disposal, recycling, and reuse of the building at the end of its life cycle.
q | q | §9.5.1.2 Step 1: The life-cycle inventory (LCI) accounts for air emissions of the following: q The six principal pollutants: carbon monoxide, nitrogen dioxide, lead, sulfur oxides, particulate matter (PM10 and PM2.5), and ozone. q Greenhouse gases: carbon dioxide, methane, nitrous oxide, chlorofluorocarbons, hydrochlorofluorocarbons, bromofluorocarbons, hydrofluorocarbons, perfluorocarbons, sulfur hexafluoride, sulfur dioxide, and VOCs. q Hazardous air pollutants listed in the Clean Air Act and its amendments.
q | q | §9.5.1.2 Step 2: The two building alternatives have been compared using a published third-party impact indicator method that includes at a minimum the following impact categories: land use (or habitat alteration), resource use, climate change, ozone layer depletion, human health effects, ecotoxicity, smog, acidification, and eutrophication.
§9.5.1: Life-Cycle Assessment
q | q | §9.5.1.2 Step 2: An LCA report has been prepared that meets the requirements for third-party reporting in ISO Standard 14044 and also includes: q 1. A description of the two building alternatives. q 2. The impact indicator method and impact categories used. q 3. The results of the LCA indicating a minimum of 5% improvement in the proposed building compared to the other building alternative for a minimum of two impact categories (selected above), including an explanation of the rationale or the weighting and averaging of the impacts.
q | q | §9.5.1.3: Step 3: The following have been submitted to the AHJ: q a. The LCA report. q b. The documentation of critical peer review by a third party including the results from the review and the reviewer’s name and contact information.
The proposed and baseline buildings comply with the mandatory requirements of ANSI/ASHRAE/USGBC/IES Standard 189.1-2014 and meet the Performance Option requirements. Individual certifying authenticity of the data provided in this analysis:
|  | Signature: | Date:
|  | Printed Name: | License/Registration #:
Company Name: