Pandemic Task Force

Fire sub-committee, May 2021

Current codes

- Tents (180 days), IFC Chapter 31

- Roof occupancies, IBC, IFC

- Propane heating and other heating sources as activities moved outside, IFC, IFGC, NFPA 54 & 58

- Hand sanitizer (Alcohol based hand rubs) IFC 5705.5

- Annual inspections, IFC 901.6

  - Fire Sprinklers systems

  - Fire alarm systems

  - Kitchen hood systems

  - Other fire protection systems

  - Other required inspections

- Maintenance of fire protection systems, IFC 901.6

- Blocked access (Temporary structures), IFC 503.1

- Blocked FDC and PIV (Temporary structures) IFC 901.6 & 912

- Blocked exits, IFC 1031

- Changing to identified ingress and egress (occupant flow) IFC & IBC Ch. 10

- Temporary change of occupancy for medical purposes, IFC 102.3 & IBC 101.4.7

- Added combustibles in classrooms and other spaces, IFC Ch. 3,7, & 8

Proposed code changes

- Existing occupancies with an approved fire sprinkler system and fire alarm system may be used during an emergency as an “I” occupancy when approved by the fire code official.

- The use of tents and other temporary structures may be extended beyond 180 days in an emergency when approved by the fire code official.

- The quantities of alcohol-based hand rubs in any given location may be increased for both use and storage in an emergency when approved by the fire code official.

- Required inspections of fire protection systems may be suspended in an emergency when approved by the fire code official.

- The use of approved barriers may be used in an emergency between desks and similar areas when approved by the fire code official.

Non-code related issues

- Life in the fire station

  - Physical separation

  - Eating and cooking

  - Sanitation and decontamination

  - Mental health

  - Sleeping room sanitation

  - Transport

  - Response

Review of existing guides and other information

- usfa.fema.gov/coronavirus/

- https://www.firehouse.com/stations/article/21212853/the-pandemic-fire-stations-and-the-safety-officer

- https://ehs.psu.edu/sites/ehs/files/nfpa_covid_pandemic_home_fire_safety.pdf

- usfa

- NFPA

- Firehouse

- fema

Best practices

- Continue to comply with applicable codes.

- Make decisions based on fact.

- Provide facts to the public.

- Capitalize on the inspection of occupancies with reduced occupancy. Inspect businesses, industrial facilities, schools, and government buildings that may be difficult to inspect with full occupancy.

- Keep your employees safe and healthy.

A comprehensive package of public information materials

- usfa.fema.gov/coronavirus/

- https://www.firehouse.com/stations/article/21212853/the-pandemic-fire-stations-and-the-safety-officer

- https://ehs.psu.edu/sites/ehs/files/nfpa_covid_pandemic_home_fire_safety.pdf

- usfa

- NFPA

- Firehouse

- fema

- ICC